## Slide 1: Blood Pressure

## Slide 2: Blood Pressure
Blood pressure is the force blood exerts against the walls of arteries as the heart contracts and relaxes.

## Slide 3: Blood Pressure
Blood pressure reflects:
– Cardiac output
– Peripheral vascular resistance
– Blood volume
– Blood viscosity
– Arterial elasticity

## Slide 4: Blood Pressure

## Slide 5: Blood Pressure
Systolic reading reflects the maximum pressure exerted on the arterial wall when the left ventricle contracts.
Diastolic reading is the minimum arterial pressure that occurs when the left ventricle relaxes.

## Slide 6: Blood Pressure

## Slide 7: Blood Pressure measurement
Blood Pressure is measured in mm Hg (millimeters of mercury)
Two Blood Pressure Readings:
  Systolic pressure - pressure within the artery when the heart contracts (contraction phase - systole)
  Diastolic pressure – pressure within the artery when the heart relaxes (relaxation phase - diastole)
• Recorded as systolic/diastolic e.g. 120/80

## Slide 8: BP READINGS

## Slide 9: Measuring Blood Pressure
Sphygmomanometer (Sphygmo) with the aneroid type used in St John FAS Stethoscope

## Slide 10: Recording a Blood Pressure
SOUND
Systolic
Diastolic
130 120 110 100 90 80 mm Hg
SYSTOLIC- pressure is recorded at the commencement of sound
• DIASTOLIC- pressure is recorded at the commencement of sound fading

## Slide 11: Preparing the Casualty
• Explain what we are going to do & reassure
• Posture appropriate
• Place arm at level of heart
• Place palm of hand facing up
• Remove constrictive clothing
• DO NOT take a BP on an arm with history of:
      Venous fistula
      Mastectomy

## Slide 12: Venous fistula

## Slide 13: Sphygmomanometer
Cuff should be at least 2/3 size of patients upper arm
Place cuff around arm, 2-3 cm above site of brachial artery
• Ensure arrows on cuff are in line with brachial artery

## Slide 14: Palpation Method
Locate radial pulse
• Inflate cuff to 20 mmHg above cessation of peripheral pulse
• Deflate cuff slowly until pulse returns
• Mentally note pressure level (systolic pressure)
• Deflate cuff completely and record level on OB12

## Slide 15: Auscultation Method
Locate & place Sphygmo diaphragm over brachial pulse
• Face stethoscope ear pieces forward (put in ear)
• Inflate cuff 20 mmHg higher than previous systolic reading
• Deflate cuff slowly until pulse sounds begin
• A “lub-dub” sound will be heard

## Slide 16: Auscultation Method
• Mentally note systolic pressure at this point
• Deflate slowly until pulse sounds softens
• Mentally note diastolic pressure at this point
• Deflate cuff completely and record both on OB12

## Slide 17: Inaudible Blood Pressure
If you can’t obtain an audible blood pressure, use the palpation method to obtain a reading (e.g. rock concert).
• This procedure will give you a systolic pressure, not a diastolic pressure.
• Systolic pressure is most useful measurement in pre hospital trauma environment
Document reading on OB12 (e.g. 110/--- by palpation)

## Slide 18: Factors affecting BP
Hypertension (high BP)
– ↑ Cardiac output
– Heightened peripheral vascular resistance
– Expanded blood volume
– ↑ Blood viscosity
– ↓Arterial elasticity
– ↑ Emotional state
– Pain
– Medications

## Slide 19: Factors Affecting BP
Hypotension (low BP)
– ↓ cardiac output
– Decreased peripheral vascular resistance
– Diminished blood volume
– ↓ blood viscosity
– ↑ arterial elasticity
– Orthostatic changes
– Medications

## Slide 20: Subsequent BP Readings
After taking a BP reading, venous blood which has accumulated in the arm must be allowed to drain.
• Therefore, wait 1 minute for a 2nd reading or a “false high” will be recorded

## Slide 21: Practical
Practice Session for Blood Pressure Measurement & Recording.

## Slide 22: Questions